Synchronization of the Archon Controllers
D. Rabinowitz, 2025 Nov 6

Note: Synchronization has two meanings:

(1) synchronizing the readout of the Archon Controls (hardware/firmware)

(2) synchronizing the threads of code used to read out the controllers (software).

Basics

1. Start with a routine to program and command a single controller (using primitives from SDSS Archon code. see sdss_controller.pdf)

   ls4_control uses the "LS4_Camera" class.

2. Construct a high-level routine to spawn 4 iterations of LS4_Camera:
   (see ls4_control.py):

    # first create a list of 4 instances of LS4_camera

    for index in range(0,5):
      self.ls4_list[index]=\
        LS4_Camera(ls4_conf=conf,ls4_sync=self.ls4_sync,
        command_args=self.ls4_sync.command_args,
        param_args=self.ls4_sync.param_args,
        fake=self.fake_controller)

   where self.ls4_sync is an instance of the LS4_Sync class (see ls4_sync.py). It provides tools to synchronously execute an LS4_Camera function across multiple instances of LS4_Camera.

3. Example: initialize the 4 controllers at the same time (synchronously)

   First create an asyncio routine that initializes a single controller given an instance of LS4_Camera as an argument ("ls4"):

    async def init_controller(self,ls4=None,hold_timing=False, reboot = False):
      """ initialize the controller associated with the instance of
        LS4_Camera specified by ls4.
        If hold_time is True, do not run the timing code.
        If reboot is True, reboot the controller before initializing
      """
      if ls4 is not None:
        ls4.debug("initializing with reboot = %s" % reboot )
        await ls4.init_controller(hold_timing=hold_timing,reboot=reboot)

   To simultanously initialize 4 controllers, use asyncio.gather to execute 4 calls to self.init_controller:

    await asyncio.gather(\
        (self.init_controller(ls4_cam, hold_timing=False, reboot = False)
        for ls4_cam in self.ls4_list))
4. Synchronized operation (configuration and readout) of the 4 controllers

   Synchronized configuration is usually not needed. The functions that write parameters to the controllers do not have to do so simultaneously. However, the commands to start a readout need to be simultaneous, and the timing code run by the controllers during exposure and readout needd to be synchronized.

   Read the Archon manual to understand better how to synchronize readout.

   ls4_control uses the "send_command" function (see LS4_Controller class) to send a command to the Archon controllers so that they execute the command synchronously. This will normally be executed by four threads at the same time, using the asyncio.gather() function discussed above.

   The send_command routine is defined as follows. Within the routine, the timing of the executed operations depends on which controller is being commanded. One of the controllers is labeled the “leader”. It is the controller that provides a sync-clock to all the other controllers (each are labeled “follower”). The leader instance of the code will first prepare all the follower instances send a command and wait until they are ready. When the leader then sends the command, the followers will execute the same command at exactly the same time (same clock cycle).

    async def send_command(
        self,
        command_string: str,
        command_id: Optional[int] = None,
        sync_flag: bool | None = None,
        **kwargs,
    ) -> ArchonCommand:

      #First prepare an instance of the ArchonCommand class using the
      command_string passes to send_command.

      command = ArchonCommand(
        command_string,
        command_id,
        controller=self,
        fake=self.fake_controller,
        **kwargs,
      )

      # Now prepare the controllers to execute the command:

      if sync_flag:
        await self.ls4_sync_io.sync_prepare(param_args=None,\
        command_args={'command_string':command_string,
        'command_id':command_id})

      # The threads that are sending a command to the follower
      # controllers (those controllers that receive the sync clock
      # provided by the lead controller ) execute a write the command
      # to the respective controller here. However, these controllers
      # do not execute the command until the lead thread writes the
      # command to thelead controller. That occurs afterwards.

      if not self.ls4_sync_io.leader:
        self.write(command.raw)

      # Now the follower threads check in with the lead thread to
      # signal they are ready (ls4_sync_io.sync_update). The lead
      # thread waits for these updates.

      try:
        await self.ls4_sync_io.sync_update(command_flag=True)
      except Exception as e:
        error_msg = "Exception updating sync: %s" % e

      # Finally the lead thread writes the command
      # to the lead controller. Aferwards, it verifies that the
      # follower threads are still synchronized with the leader

      if self.ls4_sync_io.leader and not error_msg:
        self.write(command.raw)

      if not error_msg:
        self.debug("%s: verifying sync" % prefix)
        try:
        await self.ls4_sync_io.sync_verify(command_flag=True)
        except Exception as e:
        error_msg = "Exception verifying sync: %s" % e

      if error_msg is not None:
        self.error("%s: %s" % (prefix,error_msg))
        raise LS4ControllerError(\
        f"Failed running {command_string}: %s" % error_msg)

      return command